## Instructions
Pepco MD SB Program Pricing Book
Spreadsheet Instructions
Please use the following tabs for each service you intend to bid on.
Input your proposed pricing and relevant information in the cells colored in light blue.
The Total Cost column is formatted to calculate Labor and Materials so you do not need to.
All columns and rows can be expanded as you need additional space for your notes.
Submittal Instructions
Please save the entire workbook as an Excel file and upload it with the proposal submission by the deadline as described on the event page of the ICF Procurement Portal.
Bidder Information (please fill in the light blue cells)
Bidder's Company
Company Contact
Contact's Email
Services Included in Pricing (leave an 'X' in the cell next to the service(s) you are bidding on)
Lighting
HVAC
Refrigeration
Controls
VFD
Misc

## General Requirements
General Requirements for all Measures
The Pepco Energy Savings for Business Program offers incentives to install energy efficient measures. To take advantage of these incentives, you must meet the following eligibility requirements for all measures in the Program:
1. Be a Pepco customer and business in the Maryland territory with an electrical demand ≤ 100 kW over the last twelve months with annual kWh of less than 875,000. *Accounts with annual kWh usage ≥ 400,000 but < 875,000 kWh will require further review from the Program, even if the accounts meet the kW program requirements.
2. Have an existing facility, as new construction is not eligible for this program.
3. Not be a temporary account, a cellular phone or microwave transmission tower account, or a vacant facility. These may be eligible for New Construction or other programs.
4. If a single customer has multiple accounts in the same facility and one account has ≤ 100 kW demand over the previous twelve months, the equipment serviced through that account is eligible for Small Business Program incentives; equipment serviced by accounts with demand > 100 kW are not eligible for Small Business Program incentives.
5. Incentives greater than $30,000 or kWh savings greater than 45,000 for one or a combination of projects, completed within the last three years, will receive additional review and will require explanation from customer and/or Service Provider.
6. All projects require pre-approval.

## LIghting Notes
LIGHTING TECHNICAL REQUIREMENTS version:01152024
General Lighting Requirements
1 | Equipment must be listed on the ENERGY STAR Qualified Products List to apply for ENERGY STAR measure codes (RL 171 - RL 173). All other lighting equipment must be listed on the Design Lights Consortium's (DLC) Qualified Products List. Visit:
http://www.designlights.org/QPL https://www.energystar.gov/productfinder/product/certified-light-fixtures/results
2 | All ENERGY STAR luminaires must be hard-wired. Screw/Plug-in lamps and recessed trim kits that screw in are ineligible for these measure codes. Incentives for lamps and recessed trim kits are available through Pepco's Business Instant Discounts offering. Visit a participating local distributor or https://homeenergysavings.pepco.com/business/BID for more information.
3 | Equipment for each measure code must be selected within the specified "Category," "General Application," and "Primary Use" designations, as classified by the Design Lights Consortium (does not include the ENERGY STAR measures).
4 | Wattage and Lumens values for the proposed equipment are based on Reported Data" and must be entered exactly as indicated on the Design Lights Consortium Qualified Products List and ENERGY STAR Qualified Products List.
5 | If LED linear lamps (TLEDs) are being installed and fewer lamps than what is currently installed are proposed for installation (i.e. installing a single lamp in a 2-lamp fixture), the luminaires must be permanently delamped and the TLEDs re-centered in luminaires through the use of UL/CSA-listed retrofit kits specifically made for this purpose.
6 | Type A and Type B LED linear replacement lamps (TLEDs) and LED mogul screw-based replacements for an HID lamp are not eligible for incentives. Only Type C equipment, as defined by Design Lights Consortium, is eligible for incentives, as outlined in measure codes RL 181 and RL 182.
7 | Private labeled equipment must be listed on the electronic lighting worksheet in the designated manufacturer and model columns as "Original (as listed on DLC)/Private Labeled" make and model numbers. Spec sheet submissions must include both the spec sheet for the original equipment and the spec sheet for the private labeled equipment with a signed letter attached by the original equipment manufacturer that validates the equipment is the same.
8 | A retrofit of existing equipment now includes existing LED luminaires and lamps, including troffers, linear ambient luminaires, high bays, low bays, exterior luminaires and fixtures retrofitted with TLED lamps. All proposed equipment must meet all stated technical criteria to qualify for an incentive
9 | If a project includes replacement of existing LED luminaires, photos of existing LED luminaire nameplate information or specifications sheets for the existing fixtures, are required to verify baseline equipment specifications, such as wattage
General Control Requirements
To be eligible for lighting incentives, lighting controls are required to be installed as follows:
Daylight controls are only eligible for fixtures located within toplight or sidelight daylight zones. • Fixtures within a distance of 1 x Height of Floor to Top of Window are considered within the sidelight daylight zone. • For example, if the top of the window is 8 feet from the floor, all fixtures within 8 feet of the window would be in the daylight zone. • Fixtures within a distance of 0.7 x Ceiling Height of the skylight are considered within the toplight daylight zone. • For example, if the ceiling height is 9 feet, all fixtures within 6.3 feet of the toplight would be in the daylight zone. • The daylight zone shall extend longitudinally from the edge of the window or other opening up to two feet on either side. • For example, if a space has windows that are separated by a wall fewer than two feet wide, then all lighting fixtures within that space would be in the daylight zone.
Occupancy/Vacancy controls are required to be installed in the following areas: • Classrooms/lecture/training rooms • Lounges • Conference/meeting/multipurpose rooms • Private offices • Copy/print rooms • Restrooms • Employee lunch and break rooms • Storage rooms • Janitorial closets • Warehouses • Locker rooms • Other spaces 300 sq. ft. or less that are enclosed by floor-to-ceiling height partitions
Lighting controls are not required in the following areas: 1) areas designated as security or emergency areas that are required to be continuously lit 2) interior exit stairways, interior exit ramps, and exit passageways and 3) emergency egress lighting that is normally off.
Spaces with existing control types are not eligible for control incentives. Please indicate when entering your equipment if there are existing controls within a space.
Exterior luminaires require a functioning time clock or photocell to qualify for lighting incentives, but are not eligible for daylight control incentives. They are eligible for advanced networked lighting control and/or occupancy/vacancy control incentives.
Networked Lighting Controls: To be eligible for NLC, the following control strategies are required: • Occupancy/Vacancy control must be enabled for all fixtures controlled by a NLC system • All fixtures located in a sidelight or toplight daylight zone must enable daylight harvesting control strategies • Where daylight is not required, at least one additional strategy is required to be implemented

## Lighting
The Pepco Energy Savings for Business Program offers incentives to install energy efficient lighting and lighting controls. To take advantage of these incentives, customers must meet the following eligibility requirements: 1. Be a Pepco customer and business in the Maryland territory with an electrical demand ≤ 100 kW over the last twelve months with annual kWh of less than 875,000.* 2. Have an existing facility, as new construction is not eligible for this program. 3. Not be a temporary account, a cellular phone or microwave transmission tower account, or a vacant facility. These may be eligible for New Construction or other programs. If a single customer has multiple accounts in the same facility and one account has 100 kW demand or less over the previous twelve months, the equipment serviced through that account is eligible for Small Business Program incentives; equipment serviced by accounts with demand > 100 kW are not eligible for Small Business Program incentives. *Accounts with annual kWh usage ≥ 400,000 but < 875,000 kWh will require further review from the Program, even if the accounts meet the kW program requirements. In addition, incentives greater than $30,000 or kWh savings greater than 45,000 for one or a combination of projects, completed within the last three years, will receive additional review and will require explanation from customer and/or service provider.
Lighting |  |  |  | Proposed Pricing
Measure Code | Lighting Equipment notes and additional requirements are on the Lighting Notes tab. | Base Incentive Min Wattage Reduction | Unit | Materials | Labor include labor/fees for disposal and/or proper recycling of existing equipment. | Total Cost cell will calculate based on Materials/Labor no need to update | Manufacturer | Model Number | Notes
Section I: LED Fixtures and Lamps
Replacement Lamps
RL 181 | Installations of Type C LED Linear lamp and new LED driver | 5 | Lamp | 0 | 0 | 0
RL 182 | Installations of Type C LED mogul screw-base replacement for an HID lamp and new external driver | 60 | Lamp | 0 | 0 | 0
Energy Star Fixtures & Exit Signs
RL 171 | New LED ENERGY STAR fixture - 1,499 lm or less | 10 | Fixture | 0 | 0 | 0
RL 172 | New LED ENERGY STAR fixture - 1,500 lm - 2,999 lm | 25 | Fixture | 0 | 0 | 0
RL 173 | New LED ENERGY STAR LED fixture - 3,000 lm or greater | 50 | Fixture | 0 | 0 | 0
Troffer Luminaires
RL 101 | New LED Troffer Fixture, 2x2 and 1x4 Luminaires | 15 | Fixture | 0 | 0 | 0
RL 102 | New LED Troffer Fixture, 2x4 Luminaires | 20 | Fixture | 0 | 0 | 0
Flat Panel Luminaires
RL 103 | New LED Flat Panel Fixture, 2x2 and 1x4 Luminaires | 15 | Panel | 0 | 0 | 0
RL 104 | New LED Flat Panel Fixture, 2x4 Luminaires | 20 | Panel | 0 | 0 | 0
Linear Ambient/Stairwell Luminaires
RL 111 | New LED linear ambient luminaire | 5/Foot | Foot | 0 | 0 | 0
RL 112 | New LED stairwell luminaire | 10 | Fixture | 0 | 0 | 0
Interior Directional Luminaires
RL 121 | New LED wall wash luminaire | 5/Foot | Foot | 0 | 0 | 0
RL 122 | New LED track/mono-point luminaire | 25 | Head | 0 | 0 | 0
Display Case Luminaires
RL 131 | New LED display case luminaire | 20 | Fixture | 0 | 0 | 0
RL 132 | New LED display case luminaire installed in reach-in coolers/freezers | 15 | Fixture | 0 | 0 | 0
High/Low Bay Luminaires
RL 141 | New LED high/low bay luminaire - 5,000 lm - 9,999 lm | 50 | Fixture | 0 | 0 | 0
RL 142 | New LED high/low bay luminaire - 10,000 lm - 19,999 lm | 100 | Fixture | 0 | 0 | 0
RL 143 | New LED high/low bay luminaire - 20,000 lm - 29,999 lm | 100 | Fixture | 0 | 0 | 0
RL 144 | New LED high/low bay luminaire - 30,000 lm - 39,999 lm | 150 | Fixture | 0 | 0 | 0
RL 145 | New LED high/low bay luminaire - 40,000 lm or more | 400 | Fixture | 0 | 0 | 0
Exterior Luminaires
RL 151 | New LED exterior luminaire - 4,999 lm or less | 40 | Fixture | 0 | 0 | 0
RL 152 | New LED exterior luminaire - 5,000 lm - 9,999 lm | 125 | Fixture | 0 | 0 | 0
RL 153 | New LED exterior luminaire - 10,000 lm - 19,999 lm | 250 | Fixture | 0 | 0 | 0
RL 154 | New LED exterior luminaire - 20,000 lm - 29,999 lm | 400 | Fixture | 0 | 0 | 0
RL 155 | New LED exterior luminaire - 30,000 lm - 39,999 lm | 550 | Fixture | 0 | 0 | 0
RL 156 | New LED exterior luminaire - 40,000 lm or more | 700 | Fixture | 0 | 0 | 0
Retrofit Kits
RL 161 | LED linear retrofit kit for 2x2 and 1x4 fixtures | 15 | Fixture | 0 | 0 | 0
RL 162 | LED linear retrofit kit for 2x4 fixtures | 20 | Fixture | 0 | 0 | 0
RL 163 | LED integrated retrofit kit for 2x2 and 1x4 fixtures | 15 | Fixture | 0 | 0 | 0
RL 164 | LED integrated retrofit kit for 2x4 fixtures | 20 | Fixture | 0 | 0 | 0
RL 165 | LED retrofit kit for linear ambient luminaire | 3/Foot | Foot | 0 | 0 | 0
RL 166 | LED retrofit kit for high/low bay luminaire | 40 | Fixture | 0 | 0 | 0
RL 167 | LED retrofit kit for exterior luminaire | 40 | Fixture | 0 | 0 | 0
TBD | LED retrofit kit for Recessed Downlight | 10 | Fixture | 0 | 0 | 0
Sign Lighting
TBD | Sign Lighting: Exterior/Dusk-to-Dawn application | N/A | Watt Reduced | 0 | 0 | 0
TBD | Sign Lighting: Interior application | N/A | Watt Reduced | 0 | 0 | 0
TBD | Sign Lighting: 24 hour operation | N/A | Watt Reduced | 0 | 0 | 0
Section II: Alternative Fixtures
TBD | New fixtures or lighting controls that do not fit into any of the categories listed above. | N/A | Annual kWh Saved | 0 | 0 | 0
Section III: Interior Lighting Controls
LC 101 | Networked lighting control | 20 | Fixture | 0 | 0 | 0
LC 102 | Networked lighting control | 5 | Fixture | 0 | 0 | 0
LC 111 | Dual daylight & occupancy sensor (DOS) | 20 | Fixture | 0 | 0 | 0
LC 112 | Dual daylight & occupancy sensor (DOS) - lower Wattage fixtures/downlights | 5 | Fixture | 0 | 0 | 0
LC 113 | Daylight continuous dimming control | 20 | Fixture | 0 | 0 | 0
LC 114 | Daylight continuous dimming control - lower Wattage fixtures/downlights | 5 | Fixture | 0 | 0 | 0
LC 131 | Vacancy control | 20 | Fixture | 0 | 0 | 0
LC 132 | Vacancy control - lower Wattage fixtures/downlights | 5 | Fixture | 0 | 0 | 0
LC 133 | Occupancy control | 20 | Fixture | 0 | 0 | 0
LC 134 | Occupancy control - lower Wattage fixtures/downlights | 5 | Fixture | 0 | 0 | 0
TBD | Integrated Occupancy / Vacancy Control | 10 | Fixture | 0 | 0 | 0

## HVAC
HVAC | Cooling Capacity |  | Minimum Requirements |  |  |  | Proposed Pricing
Measure | Btu/h | Tons | SEER/ IEER | EER | HSPF/ COP | Unit | Materials | Labor | Total Cost cell will calculate based on Materials/Labor | Manufacturer | Model Number | Notes on Proposed Pricing
Residential Air Conditioner installed in Commercial Setting (Window Unit)
Single Package | N/A | N/A | Meet Energy Star Requirements |  |  | per unit | 0 | 0 | 0
Air Conditioning Only
Split System | <65,000 | <5.4 | 16 | N/A | N/A | per ton | 0 | 0 | 0
Single Package | <65,000 | <5.4 | 16 | N/A | N/A | per ton | 0 | 0 | 0
Either | ≥ 65,000 and <135,000 | ≥5.4 and <11.25 | 14 | 12.2 | N/A | per ton | 0 | 0 | 0
Either | ≥135,000 and <240,000 | ≥11.25 and <20 | 13.2 | 12.2 | N/A | per ton | 0 | 0 | 0
Either | ≥240,000 and <360,000 | ≥20 and <30 | 12.3 | 11 | N/A | per ton | 0 | 0 | 0
Air Source Heat Pumps
Split System | <65,000 | <5.4 | 16 | N/A | 9 | per ton | 0 | 0 | 0
Single Package | <65,000 | <5.4 | 16 | N/A | 8.5 | per ton | 0 | 0 | 0
Either | ≥ 65,000 and <135,000 | ≥5.4 and <11.25 | 13 | 12 | 3.4 | per ton | 0 | 0 | 0
Either | ≥135,000 and <240,000 | ≥11.25 and <20 | 12 | 10.8 | 3.3 | per ton | 0 | 0 | 0
Either | ≥240,000 and <360,000 | ≥20 and <30 | 10.8 | 9.5 | 3.3 | per ton | 0 | 0 | 0
Water Source Heat Pumps
Single Package | <65,000 | <5.4 | 14 | 14 | 4.7 | per ton | 0 | 0 | 0
Single Package | ≥65,000 and <135,000 | ≥5.4 and <11.25 | 14 | 14 | 4.7 | per ton | 0 | 0 | 0
Single Package | ≥135,000 | ≥11.25 | 14 | 14 | 4.7 | per ton | 0 | 0 | 0
Water Cooled and Evaporative Air Conditioning
Single Package | <65,000 | <5.4 | 16 | 14 | N/A | per ton | 0 | 0 | 0
Single Package | ≥ 65,000 and <135,000 | ≥5.4 and <11.25 | 15.3 | 14 | N/A | per ton | 0 | 0 | 0
Single Package | ≥135,000 and <240,000 | ≥11.25 and <20 | 14.8 | 14 | N/A | per ton | 0 | 0 | 0
Single Package | ≥240,000 and <360,000 | ≥20 and <30 | 14 | 13.4 | N/A | per ton | 0 | 0 | 0
Geothermal Heat Pumps
Single Package | All | All | 18 | 18 | 4.7 | per ton | 0 | 0 | 0
Single Package | All | All | 20 | 20 | 5 | per ton | 0 | 0 | 0
Packaged Terminal Air Conditioner
Single Package | <9,000 | < 3/4 | N/A | 12 | N/A | per unit | 0 | 0 | 0
Single Package | ≥9,000 and <12,000 | ≥ 3/4 and < 1 | N/A | 11.4 | N/A | per unit | 0 | 0 | 0
Single Package | ≥12,000 | > 1 | N/A | 10.5 | N/A | per unit | 0 | 0 | 0
Packaged Terminal Heat Pump
Single Package | <9,000 | < 3/4 | N/A | 11.7 | 3.4 | per unit | 0 | 0 | 0
Single Package | ≥9,000 and <12,000 | ≥ 3/4 and < 1 | N/A | 11 | 3.3 | per unit | 0 | 0 | 0
Single Package | ≥12,000 | > 1 | N/A | 10.1 | 3.1 | per unit | 0 | 0 | 0
Ductless, Mini-Split Air conditioners and Heat Pumps
AC Split System | All | All | 16 | N/A | N/A | per ton | 0 | 0 | 0
HP Split System | All | All | 16 | N/A | 8.2 | per ton | 0 | 0 | 0
Smart Thermostats
See note below1 | <300,000 | < 25 | N/A | N/A | N/A | per unit | 0 | 0 | 0
1 Unit must control central A/C, heat pump, or rooftop units that serve normal conditioned spaces, not semi-conditioned spaces or spaces with large frequently open doors (e.g. loading docks and car repair shops).

## Refrigeration
Commercial Refrigeration and Kitchen |  |  |  | Proposed Pricing
Measure *footnotes at bottom of page | Size Criteria | Efficiency Rating | Unit | Materials | Labor | Total Cost cell will calculate based on Materials/Labor no need to update | Manufacturer | Model Number | Notes on Proposed Pricing
Anti-Sweat Heat Control for Cooler Doors | N/A |  | Door | 0 | 0 | 0
Anti-Sweat Heat Control for Freezer Doors | N/A |  | Door | 0 | 0 | 0
Reach-In Door Closer for Cooler | N/A |  | Door | 0 | 0 | 0
Reach-In Door Closer for Freezer | N/A |  | Door | 0 | 0 | 0
Strip Curtains for Walk-In Coolers | N/A |  | SF | 0 | 0 | 0
Strip Curtains for Walk-In Freezers | N/A |  | SF | 0 | 0 | 0
Night Cover for Open Reach-In Coolers | N/A |  | Case | 0 | 0 | 0
ECM Evaporative Fan Motor for Walk-In Cooler | N/A |  | Motor | 0 | 0 | 0
ECM Evaporative Fan Motor for Walk-In Freezer | N/A |  | Motor | 0 | 0 | 0
ECM Evaporative Fan Motor for Display Cooler | N/A |  | Motor | 0 | 0 | 0
ECM Evaporative Fan Motor for Display Freezer | N/A |  | Motor | 0 | 0 | 0
Evaporator Fan Controller on Existing Motor - Cooler | N/A |  | Motor | 0 | 0 | 0
Evaporator Fan Controller on Existing Motor - Freezer | N/A |  | Motor | 0 | 0 | 0
Residential Refrigerator (Used in Commercial Setting)¹ | ≥7.75 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Residential Refrigerator (Used in Commercial Setting)¹ | ≥7.75 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Residential Freezer Energy Star (Used in Commercial Settings)¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Refrigerators¹ | <7.5 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Refrigerators¹ | ≥7.5 to <15 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Refrigerators¹ | ≥15 to <30 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Refrigerators¹ | ≥30 to <50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Refrigerators¹ | ≥50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Freezers¹ | <7.5 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Freezers¹ | ≥7.5 to <15 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Freezers¹ | ≥15 to <30 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Freezers¹ | ≥30 to <50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Reach-In Freezers¹ | ≥50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Refrigerators¹ | <7.5 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Refrigerators¹ | ≥7.5 to <15 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Refrigerators¹ | ≥15 to <30 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Refrigerators¹ | ≥30 to <50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Refrigerators¹ | ≥50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Freezers¹ | <7.5 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Freezers¹ | ≥7.5 to <15 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Freezers¹ | ≥15 to <30 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Freezers¹ | ≥30 to <50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Glass Door Reach-In Freezers¹ | ≥50 cubic feet (AHAM interior volume) | Energy Star® | Unit | 0 | 0 | 0
Solid Door Chest Freezers¹ | Any size | Energy Star® | Unit | 0 | 0 | 0
Glass Door Chest Freezers¹ | Any size | Energy Star® | Unit | 0 | 0 | 0
Ice Machine¹ | <450 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine¹ | 450-1,000 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine¹ | >1,000 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine - Cube & Nugget¹ | <450 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine - Cube & Nugget¹ | 450-1,000 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine - Cube & Nugget¹ | >1,000 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine - Flake¹ | <450 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine - Flake¹ | 450-1,000 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Ice Machine - Flake¹ | >1,000 lbs/day | Energy Star® | Unit | 0 | 0 | 0
Fat Fryer¹ | Standard Size | Energy Star® | Unit | 0 | 0 | 0
Fat Fryer¹ | Large Vat | Energy Star® | Unit | 0 | 0 | 0
Steam Cookers¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Hot Food Holding Cabinet¹ | Full-size cabinet | Energy Star® | Unit | 0 | 0 | 0
Hot Food Holding Cabinet¹ | Three-Quarter size cabinet | Energy Star® | Unit | 0 | 0 | 0
Hot Food Holding Cabinet¹ | Half-size cabinet | Energy Star® | Unit | 0 | 0 | 0
Griddles¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Convection Ovens¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Combination Ovens¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Low Flow Pre-Rinse Valve for Automatic Dishwasher | N/A | WaterSense® | Unit | 0 | 0 | 0
Commercial Dishwasher – High Temperature Under Counter ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – High Temperature Door Type ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – High Temperature Single Tank Conveyor ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – High Temperature Multi Tank Conveyor ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – Low Temperature Under Counter ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – Low Temperature Door Type ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – Low Temperature Single Tank Conveyor ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Commercial Dishwasher – Low Temperature Multi Tank Conveyor ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
Water Cooler ¹ | N/A | Energy Star® | Unit | 0 | 0 | 0
FOOTNOTES
1. These measures must replace existing units. New units should be similar in general size and style as the existing unit.
GENERAL PROVISIONS (Apply to all measures)
a. Existing units must be removed and disposed of properly. Program may, at its sole discretion, require proof of disposal prior to payment of any incentives.
b. Except where explicitly indicated as Residential in the measure name, all new equipment must be Commercial Equipment, as identified by the Energy Star, or WaterSense listing for the equipment.
c. Pepco may, at its sole discretion, reduce any incentive offer based upon current market pricing of the proposed equipment.

## Controls
Specialized Controls |  | Proposed Pricing
Control | Unit | Materials | Labor | Total Cost cell will calculate based on Materials/Labor no need to update | Manufacturer | Model Number | Notes
“Smart” Power Strips Incentive applies to any plug strip that eliminates idle or stand-by power consumption of connected plug-load appliance through the use of an electric load sensor or timer. | per strip | 0 | 0 | 0
Personal Occupancy Sensor Incentive applies to any plug strip that eliminates idle or stand-by power consumption of connected plug-load appliance through the use of an occupancy sensor. | per control | 0 | 0 | 0
Hotel room HVAC control Facility must be a lodging business. Incentives are for occupancy-based guest room energy management controls. Occupancy control may be room-key activated or sensed due to motion and/or sound and must control the HVAC system serving the room. | per room | 0 | 0 | 0
Hotel room HVAC and receptacle control Facility must be a lodging business. Incentives are for occupancy-based guest room energy management controls. Occupancy control may be room-key activated or sensed due to motion and/or sound and must control the HVAC system serving the room and the majority of outlets within the room. | per room | 0 | 0 | 0
Vending machine refrigerated control Incentives are for controllers for glass fronted coolers and refrigerated snack vending machines where the controller functions to power down the machine when the surrounding area is vacant (vending machine occupancy control), monitors the room temperature and re-powers the cooling system to maintain a cool product. | per control | 0 | 0 | 0
Vending machine control Incentives are for controllers for non-refrigerated snack vending machine(s) with mechanisms that function to power down the machine if the surrounding area is vacant. | per control | 0 | 0 | 0

## VFD
VFD |  | Proposed Pricing
Measures1,2 |  | Materials | [11 empty] | Labor | Manufacturer/Model | Notes on Proposed Pricing
|  | VFD Horsepower Rating | [11 empty] | If the HP rating changes the labor cost per HP, please list in the notes. If it is the same you can list it in this column. No need to total the costs.
Controlled Equipment | Pump/ Fan/Other | 2 | 3 | 4 | 5 | 7.5 | 10 | 15 | 20 | 25 | 30 | 40 | 50
Standard Incentive 3
Chilled Water (ChW) Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0 | 0
Condenser Water Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hot Water Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WSHP Circ Loop Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler Feedwater Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Condensate Pump (for AC) | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Make-Up Air Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Return Air Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooling Tower Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Supply Air Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Exhaust Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Condensate Pump (steam system) | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler Draft Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Alternative Incentives3
Wastewater Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Well Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transfer Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pool Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Domestic Water Circ Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Domestic Water Booster Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Process Cooling Pump | Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Exhaust Fan | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Process Exhaust Fan or Fume Hood | Fan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Conditioning Chiller Compressor | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Compressor | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other ( list in notes) | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other ( list in notes) | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes
1. To qualify for an incentive, the motor(s) being controlled must operate a minimum of 2,000 hours per year.
2. Incentives are available for VFDs only in a retrofit situation where no VFD has been in use previously. Replacement of failed VFDs are not eligible for incentives.
3. Incentives are awarded based upon the VFD horsepower (HP) rating and type of equipment controlled. If the equipment controlled is identified as Standard then the incentive is calculated based upon HP (see incentive table immediately following). If the equipment controlled is identified as Alternative, then the incentive is calculated as the lesser of Standard incentive, 70% of installed cost or buydown to 0.5 year payback and must pass the Total Resource Cost test.
Supporting Notes
Instructions when submitting incentive applications
a. If submitting an application for a Standard measure, enter data requested on VFD input sheet and annual savings will be calculated automatically
b. If submitting an application for any Alternative measure, enter data requested on input sheet, as with Standard measures. For these measures the user is required to calculate annual savings and enter those data on the input sheet--all calculations and methodology supporting the annual kWh and kW savings must be provided.
c. In addition, for Alternative measures the user is required to supply the average electricity price. This is the price that the facility paid over last 12 months inclusive of the utility’s transmission and distribution costs, fuel cost, demand charge, and all taxes and applicable rider charges. This is calculated as the sum of all electricity charges over the past 12 months divided by the kWh used over the same period.

## Misc
Miscellaneous Energy Efficiency Measures |  |  | Proposed Pricing
Unit | Tank Size gallons | Requirement | Materials | Labor | Total Cost cell will calculate based on Materials/Labor no need to update | Manufacturer | Model Number | Notes on Your Costs
Heat Pump Water Heater | <40 | Meets Energy Star® criteria of EF or COP > 2.0 and FHR > 50 gallons/hr Note: FHR is first hour rating, which is found on the spec sheet, GPM x 60 | 0 | 0 | 0
| 40 |  | 0 | 0 | 0
| 50 |  | 0 | 0 | 0
| >50 |  | 0 | 0 | 0
Commercial Clothes Washer Tier 1 (≥ 2.20 MEF, ≤ 4.5 WF) (Electric DHW; Electric Dryer) |  | Meets Energy Star® criteria and have a ≥ 2.20 Modified Energy Factor (MEF) and ≤ 4.5 Water Factor (WF) | 0 | 0 | 0
Commercial Clothes Washer Tier 1 (≥ 2.20 MEF, ≤ 4.5 WF) (Electric DHW; Gas Dryer) |  | Meets Energy Star® criteria and have a ≥ 2.20 Modified Energy Factor (MEF) and ≤ 4.5 Water Factor (WF) | 0 | 0 | 0
Commercial Clothes Washer Tier 2 (≥ 2.40 MEF, ≤ 4.0 WF) (Electric DHW; Electric Dryer) |  | Meets Energy Star® criteria and have a ≥ 2.40 Modified Energy Factor (MEF) and ≤ 4.0 Water Factor (WF) | 0 | 0 | 0
Commercial Clothes Washer Tier 2 (≥ 2.40 MEF, ≤ 4.0 WF) (Electric DHW; Gas Dryer) |  | Meets Energy Star® criteria and have a ≥ 2.40 Modified Energy Factor (MEF) and ≤ 4.0 Water Factor (WF) | 0 | 0 | 0
Residential Clothes Washer CEE Tier 2 (Electric DHW; Electric Dryer) |  | Meets CEE Tier 2 criteria | 0 | 0 | 0
Residential Clothes Washer CEE Tier 2 (Electric DHW; Gas Dryer) |  | Meets CEE Tier 2 criteria | 0 | 0 | 0
Residential Clothes Washer CEE Tier 3 (Electric DHW; Electric Dryer) |  | Meets CEE Tier 3 criteria | 0 | 0 | 0
Residential Clothes Washer CEE Tier 3 (Electric DHW; Gas Dryer) |  | Meets CEE Tier 3 criteria | 0 | 0 | 0
Residential Dehumidifier (used in Commercial Setting) |  | Meets Energy Star® criteria | 0 | 0 | 0

## Additional Info
You can use this page for any additional info you wish to provide
all cells are open for your use.